**USB Software Media Label Form**

The contents of this completed form is used to create the label for physical USB software media. The form is constructed to specify required content.

Use this template when creating labels intended for USB media.

Content of the form includes:

* Field Status: Indication of content which is either required or optional
* Field Description: Indication of field type
* Format: Definition of content and / or structure of expected data
* Actual Data: Specific content required on the media

**Use Instructions: Creator (includes but not limited to Product Owner, Engineering, etc)**:

* Complete all fields.
  + Confer with Marketing representatives, as necessary, for product name, software title and branding information.
  + Confer with Regulatory Affairs (RA) representatives to confirm required regulatory symbols
  + For fields G.1, G.2, G.3 and G.4, these are managed as a set of information; therefore they are either all applicable or all non applicable.

**Use Instructions: Recipient (includes but not limited to Supply Chain, Media Manufacturer, etc)**:

* For each completed data line, use the content of the “actual data” column and place the required text in the specified grid location, as stipulated in the USB media purchase specifications.
  + The far-left edge of the image or text content is to be placed in the specified location.
  + Field locations may be adjusted as necessary to allow for readability and content placement.

**Document Revision History**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Revision** | **Date** | **Author** | **Change Reference** | **Reason for Change** |
| 1 | 30 Oct 2018 | John Manarik | All Pages | Initial Release |
| 2 | 25 Apr 2019 | B. Roberto | Added detail on format for fields B, E, G.2 and mfg | Added clarity for field formats and added more options for products where Chicago may not be legal manufacturer |
| 3 | 6 June 2021 | B. Roberto | Updated fields A and G1 | Clarified character limit and format for product name. Removal of 2D barcode. UDI symbol remains on label Removal of manufacturing. Date field G.3 and renumbering of G fields. Added applicability boxes to UDI, E and G Fields |

##### Field Content

**NOTE: All fields have a 32-character limit**

| **Field ID** | **Field Status** | **Field Description** | **Format** | **Actual Data** |
| --- | --- | --- | --- | --- |
| Not identified | Required | GE logo | Not applicable |  |
| A | Required | Device / Product Name | Brand Name™ Product Model  32 Character Limit | Centricity™ Enterprise Archive |
| B | Required | Part Number and Revision | PPPPPPP- R  Format is product specific and may have variable number of digits for the part number “P” or revision “R” | K2042VJED-T |
| C | Required | Part or Build Number | XXXXXXX  XXXXXXX-XXX | 2049945-032 |
| D | Required | Device Software Revision | Release with Software Patch or Service Pack  (examples 5.7 SP9;  7.0 SP0.0.4.2 | 4.0 SP23.1 |
| E | Optional | CE Mark | Not applicable | Not Applicable  CE Mark ce  CE 0459 Mark ce0459  CE 0197 Mark ce0197  CE \_\_\_\_ Mark ce\_\_\_\_  Note: NB Number after CE is product specific information so if not 0459 or 0197 needs to be specifically identified in this form |
| F | Required | Consult Instructions for Use symbol | Not applicable | Consult Manual |
| Not identified | Optional | UDI symbol | Not applicable | Not Applicable  Symbol precedes the G.1 and G2 UDI numbers: |
| G.1 | Optional | GTIN  (GS1 format) | (01)xxxxxxxxxxxxxx  14 digits after (01) | Not Applicable  Applicable GTIN Value: (01)00840682102766  Applicable, If not GS1 format identify value\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  If not GS1 format – consult with RA regarding content for G.1 and G.2 field |
| G.2 | Optional | UDI Production Identification Number (PIN) | (10)Alpha numeric content | Not Applicable  Applicable UDI PIN: (10)40P2312093659001 |
| Not identified | Required | Manufacturer  (specify for legal manufacturer) | Not applicable | GE Healthcare  500 W. Monroe Street., Chicago, IL 60661  USA    \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_      Note: Legal Manufactuer is product specific information so if not GE Healthcare in Chicago, it needs to be specifically identified in this form |

| **Field ID** | **Field Status** | **Field Description** | **Format** | **Actual Data** |
| --- | --- | --- | --- | --- |
| Not identified | Required | GE logo | Not applicable |  |
| A | Required | Device / Product Name | Brand Name™ Product Model  32 Character Limit | Centricity™ PACS Server |
| B | Required | Part Number and Revision | PPPPPPP- R  Format is product specific and may have variable number of digits for the part number “P” or revision “R” | K2042VJED-T |
| C | Required | Part or Build Number | XXXXXXX  XXXXXXX-XXX | 2092152-075 |
| D | Required | Device Software Revision | Release with Software Patch or Service Pack  (examples 5.7 SP9;  7.0 SP0.0.4.2 | 6.0 SP10.2.2 LINUX SRVR APPS |
| E | Optional | CE Mark | Not applicable | Not Applicable  CE Mark ce  CE 0459 Mark ce0459  CE 0197 Mark ce0197  CE \_\_\_\_ Mark ce\_\_\_\_  Note: NB Number after CE is product specific information so if not 0459 or 0197 needs to be specifically identified in this form |
| F | Required | Consult Instructions for Use symbol | Not applicable | Consult Manual |
| Not identified | Optional | UDI symbol | Not applicable | Not Applicable  Symbol precedes the G.1 and G2 UDI numbers: |
| G.1 | Optional | GTIN  (GS1 format) | (01)xxxxxxxxxxxxxx  14 digits after (01) | Not Applicable  Applicable GTIN Value: (01)00840682104807  Applicable, If not GS1 format identify value\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  If not GS1 format – consult with RA regarding content for G.1 and G.2 field |
| G.2 | Optional | UDI Production Identification Number (PIN) | (10)Alpha numeric content | Not Applicable  Applicable UDI PIN: (10)60P1022.2094610001D |
| Not identified | Required | Manufacturer  (specify for legal manufacturer) | Not applicable | GE Healthcare  500 W. Monroe Street., Chicago, IL 60661  USA    \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_      Note: Legal Manufactuer is product specific information so if not GE Healthcare in Chicago, it needs to be specifically identified in this form |

| **Field ID** | **Field Status** | **Field Description** | **Format** | **Actual Data** |
| --- | --- | --- | --- | --- |
| Not identified | Required | GE logo | Not applicable |  |
| A | Required | Device / Product Name | Brand Name™ Product Model  32 Character Limit | Centricity™ Universal Viewer |
| B | Required | Part Number and Revision | PPPPPPP- R  Format is product specific and may have variable number of digits for the part number “P” or revision “R” | K2042VJED-T |
| C | Required | Part or Build Number | XXXXXXX  XXXXXXX-XXX | 2088026-993 |
| D | Required | Device Software Revision | Release with Software Patch or Service Pack  (examples 5.7 SP9;  7.0 SP0.0.4.2 | 6.0 SP10.4 |
| E | Optional | CE Mark | Not applicable | Not Applicable  CE Mark ce  CE 0459 Mark ce0459  CE 0197 Mark ce0197  CE \_\_\_\_ Mark ce\_\_\_\_  Note: NB Number after CE is product specific information so if not 0459 or 0197 needs to be specifically identified in this form |
| F | Required | Consult Instructions for Use symbol | Not applicable | Consult Manual |
| Not identified | Optional | UDI symbol | Not applicable | Not Applicable  Symbol precedes the G.1 and G2 UDI numbers: |
| G.1 | Optional | GTIN  (GS1 format) | (01)xxxxxxxxxxxxxx  14 digits after (01) | Not Applicable  Applicable GTIN Value: (01)00840682103800  Applicable, If not GS1 format identify value\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  If not GS1 format – consult with RA regarding content for G.1 and G.2 field |
| G.2 | Optional | UDI Production Identification Number (PIN) | (10)Alpha numeric content | Not Applicable  Applicable UDI PIN: (10)60P104.2094097001H |
| Not identified | Required | Manufacturer  (specify for legal manufacturer) | Not applicable | GE Healthcare  500 W. Monroe Street., Chicago, IL 60661  USA    \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_      Note: Legal Manufactuer is product specific information so if not GE Healthcare in Chicago, it needs to be specifically identified in this form |

| **Field ID** | **Field Status** | **Field Description** | **Format** | **Actual Data** |
| --- | --- | --- | --- | --- |
| Not identified | Required | GE logo | Not applicable |  |
| A | Required | Device / Product Name | Brand Name™ Product Model  32 Character Limit | Centricity™ Universal Viewer Zero Footprint |
| B | Required | Part Number and Revision | PPPPPPP- R  Format is product specific and may have variable number of digits for the part number “P” or revision “R” | K2042VJED-T |
| C | Required | Part or Build Number | XXXXXXX  XXXXXXX-XXX | 2089507-130 |
| D | Required | Device Software Revision | Release with Software Patch or Service Pack  (examples 5.7 SP9;  7.0 SP0.0.4.2 | 6.0 SP10.2.2 |
| E | Optional | CE Mark | Not applicable | Not Applicable  CE Mark ce  CE 0459 Mark ce0459  CE 0197 Mark ce0197  CE \_\_\_\_ Mark ce\_\_\_\_  Note: NB Number after CE is product specific information so if not 0459 or 0197 needs to be specifically identified in this form |
| F | Required | Consult Instructions for Use symbol | Not applicable | Consult Manual |
| Not identified | Optional | UDI symbol | Not applicable | Not Applicable  Symbol precedes the G.1 and G2 UDI numbers: |
| G.1 | Optional | GTIN  (GS1 format) | (01)xxxxxxxxxxxxxx  14 digits after (01) | Not Applicable  Applicable GTIN Value: (01)00840682102988  Applicable, If not GS1 format identify value\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  If not GS1 format – consult with RA regarding content for G.1 and G.2 field |
| G.2 | Optional | UDI Production Identification Number (PIN) | (10)Alpha numeric content | Not Applicable  Applicable UDI PIN: (10)60P1022.2093796001D |
| Not identified | Required | Manufacturer  (specify for legal manufacturer) | Not applicable | GE Healthcare  500 W. Monroe Street., Chicago, IL 60661  USA    \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_      Note: Legal Manufactuer is product specific information so if not GE Healthcare in Chicago, it needs to be specifically identified in this form |

| **Field ID** | **Field Status** | **Field Description** | **Format** | **Actual Data** |
| --- | --- | --- | --- | --- |
| Not identified | Required | GE logo | Not applicable |  |
| A | Required | Device / Product Name | Brand Name™ Product Model  32 Character Limit | Centricity™ Universal Viewer Zero Footprint |
| B | Required | Part Number and Revision | PPPPPPP- R  Format is product specific and may have variable number of digits for the part number “P” or revision “R” | K2042VJED-T |
| C | Required | Part or Build Number | XXXXXXX  XXXXXXX-XXX | 2089507-143 |
| D | Required | Device Software Revision | Release with Software Patch or Service Pack  (examples 5.7 SP9;  7.0 SP0.0.4.2 | 6.0 SP10.2.2.1 |
| E | Optional | CE Mark | Not applicable | Not Applicable  CE Mark ce  CE 0459 Mark ce0459  CE 0197 Mark ce0197  CE \_\_\_\_ Mark ce\_\_\_\_  Note: NB Number after CE is product specific information so if not 0459 or 0197 needs to be specifically identified in this form |
| F | Required | Consult Instructions for Use symbol | Not applicable | Consult Manual |
| Not identified | Optional | UDI symbol | Not applicable | Not Applicable  Symbol precedes the G.1 and G2 UDI numbers: |
| G.1 | Optional | GTIN  (GS1 format) | (01)xxxxxxxxxxxxxx  14 digits after (01) | Not Applicable  Applicable GTIN Value: (01)00840682102988  Applicable, If not GS1 format identify value\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  If not GS1 format – consult with RA regarding content for G.1 and G.2 field |
| G.2 | Optional | UDI Production Identification Number (PIN) | (10)Alpha numeric content | Not Applicable  Applicable UDI PIN: (10)60P102212093796001 |
| Not identified | Required | Manufacturer  (specify for legal manufacturer) | Not applicable | GE Healthcare  500 W. Monroe Street., Chicago, IL 60661  USA    \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_      Note: Legal Manufactuer is product specific information so if not GE Healthcare in Chicago, it needs to be specifically identified in this form |

| **Field ID** | **Field Status** | **Field Description** | **Format** | **Actual Data** |
| --- | --- | --- | --- | --- |
| Not identified | Required | GE logo | Not applicable |  |
| A | Required | Device / Product Name | Brand Name™ Product Model  32 Character Limit | Centricity™ Universal Viewer Zero Footprint |
| B | Required | Part Number and Revision | PPPPPPP- R  Format is product specific and may have variable number of digits for the part number “P” or revision “R” | K2042VJED-T |
| C | Required | Part or Build Number | XXXXXXX  XXXXXXX-XXX | 2089507-148 |
| D | Required | Device Software Revision | Release with Software Patch or Service Pack  (examples 5.7 SP9;  7.0 SP0.0.4.2 | 6.0 SP10.2.3 |
| E | Optional | CE Mark | Not applicable | Not Applicable  CE Mark ce  CE 0459 Mark ce0459  CE 0197 Mark ce0197  CE \_\_\_\_ Mark ce\_\_\_\_  Note: NB Number after CE is product specific information so if not 0459 or 0197 needs to be specifically identified in this form |
| F | Required | Consult Instructions for Use symbol | Not applicable | Consult Manual |
| Not identified | Optional | UDI symbol | Not applicable | Not Applicable  Symbol precedes the G.1 and G2 UDI numbers: |
| G.1 | Optional | GTIN  (GS1 format) | (01)xxxxxxxxxxxxxx  14 digits after (01) | Not Applicable  Applicable GTIN Value: (01)00840682102988  Applicable, If not GS1 format identify value\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  If not GS1 format – consult with RA regarding content for G.1 and G.2 field |
| G.2 | Optional | UDI Production Identification Number (PIN) | (10)Alpha numeric content | Not Applicable  Applicable UDI PIN: (10)60P10232093796001 |
| Not identified | Required | Manufacturer  (specify for legal manufacturer) | Not applicable | GE Healthcare  500 W. Monroe Street., Chicago, IL 60661  USA    \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_      Note: Legal Manufactuer is product specific information so if not GE Healthcare in Chicago, it needs to be specifically identified in this form |